## Sheet1
Multi-Use PDF TEMP&RH Data Logger
Tzone Multi-Use PDF TEMP&RH Data Logger is the perfect tool for stand alone or cold-chain monitoring and documentation of temperature and relative humidity conditions that are critical in laboratories, pharmaceutical, medical, storage, freezers, coolers, shipping containers, warehouses, environmental monitoring and food storage applications.
Features:
*Designed to be Multi-use
*Temperature & Humidity measurement and recording
*Statistics available on LCD screen
*No software needed to retrieve data
*Automatically generates PDF report and CSV file
*Reprogrammable software for logging parameters,alarms,and start delay
Specifications:
Temperature Scale | ℃ or ℉
Accuracy | ±3%RH; ±0.5°C (-20°C ~ +40°C),±1.0°C(other range) | ±0.3°C (±0.5°F) | ±0.3°C (±0.5°F)
Measurement Range | Humidity 0%~100%RH, Temp -30°C ~60 °C | Temp -30℃~ +60℃ | Temp -30°C ~60 °C
Resolution | 0.1%RH typically, 0.1°C | 0.1°C (0.2°F) | 0.1°C (0.2°F)
Memory Capacity | 12000
Recording Options | Delayed or Push-To-Start Logging
Record Interval | 10 seconds to 18 hours adjustable [Default:10 mins]
Start Delay | Start Delay Programmable (0~254 mins) [Default:30 mins]
Alarm Delay | Programmable (0~960 mins) [Default:10 mins]
Alarm Range | Programmable high or low alarm limit for each channel [Default:<2℃ or >8℃, <40%RH or >80%RH]
Shelf Life / Battery | Typically 1 Years ;CR2032 3.0V Lithium Battery (Dependant on Sampling Rate and Environment) | 1 years
Report Generation | Simultaneously generate PDF report and CSV files | Automatic PDF/CSV report
Communication Interface | USB2.0
Time Zone | UTC +0:00 (Default)
Demensions | 89mm x 36mmx 16mm
N.W. | 25g
How to use:
press the button to start put into the box/carton logging goods TEMP&RH connect PC to get PDF Report&CSV Files
Tzone Digital Technology Co., Ltd
Tel:+86-755-82840647 Fax:+86-755-82840648 Email:sales@tzonedigital.com Web:www.tzonedigital.com
Address:16D,Haiying Building,South of Caitian Road,Futian District,Shenzhen,China 518033